# Make-Ready Turnover Checklist

General template, not legal advice. Have an attorney in your state review before use. Last reviewed October 29, 2026.

The goal is a unit that is safe, clean and ready to rent in as few vacant days as possible. Work runs in a set order so trades do not undo each other: repairs first, then paint, then floors, then cleaning last.

| Property address and unit | Move-out date |
| --- | --- |
| Target ready date | Next move-in date (if leased) |
| Turnover budget | Coordinator |

## Day 0 to 1: Inspect and scope

☐  Collect keys and remotes. Note meter readings and move utilities into the owner's name.

☐  Do the move-out inspection with photos, comparing against move-in.

☐  List every repair, replacement and cleaning task with a cost estimate.

☐  Separate tenant charges from owner costs for the deposit statement.

☐  Order long lead items such as appliances, countertops or flooring.

## Day 1 to 2: Schedule vendors

☐  Book trades in order: handyman and repairs, painter, flooring, cleaner.

☐  Confirm access, lockbox code and parking for each vendor.

☐  Create a work order for each job with a due date.

## Repairs

☐  Patch walls and fix doors, hardware and blinds.

☐  Fix leaks, running toilets and slow drains. Recaulk tubs and sinks.

☐  Repair or replace damaged appliances.

☐  Replace HVAC filter and service the system if due.

☐  Fix screens, windows and locks.

☐  Rekey or change locks.

## Paint and floors

☐  Touch up or repaint using the property's standard colors (record color codes below).

☐  Repair or replace flooring as scoped.

☐  Steam clean carpets after painting is finished.

## Safety and code

☐  Test smoke and carbon monoxide alarms. Replace units past their expiry date.

☐  Check GFCI outlets in kitchen, bath and exterior.

☐  Check stair rails, window locks and egress windows.

☐  Confirm the water heater is set to a safe temperature.

☐  Treat for pests if there were any signs.

## Final clean

☐  Appliances cleaned inside and out.

☐  Cabinets, drawers and counters wiped.

☐  Bathrooms cleaned and sanitized.

☐  Windows, sills and tracks cleaned.

☐  Floors vacuumed and mopped.

☐  Light bulbs replaced and fixtures cleaned.

☐  Trash removed from unit and grounds.

## Ready to rent

☐  Final walk by the coordinator, with every work order closed.

☐  Fresh listing photos taken.

☐  Listing updated with the available date and rent.

☐  Move-in packet ready: keys, welcome letter, move-in checklist, required disclosures.

## Paint and finish record

| Wall color and code | Trim color and code |
| --- | --- |
| Flooring type and product | Appliance models |

## Cost tracker

| Task | Vendor | Scheduled | Done | Cost | Charge to tenant (yes or no) |
| --- | --- | --- | --- | --- | --- |
| Repairs |  |  |  |  |  |
| Paint |  |  |  |  |  |
| Flooring |  |  |  |  |  |
| Cleaning |  |  |  |  |  |
| Appliances |  |  |  |  |  |
| Locks |  |  |  |  |  |
| Other |  |  |  |  |  |
| Total |  |  |  |  |  |

| Days vacant | Total cost |
| --- | --- |
| Ready date achieved | Signed off by |

General template, not legal advice. Have an attorney in your state review before use.